Appendix No. 1 to the Request for Proposals

**TENDER FORM**

within the framework of the implemented project entitled “Innovation Incubator 4.0.” financed from the European Regional Development Fund under the Operational Programme Intelligent Development 2014-2020 (Measure 4.4), pursuant to agreement no. MNiSW/2020/329/DIR of 28 September 2020

Data of the Contractor applying for the award of the contract:

Full name / Company ....................................................................................................................

Correspondence address ..................................................................................................................

TAX ID NUMBER: …………………………………

Phone ...................................

E-mail…………………….

Referring to the Request for Proposals concerning the selection of a Contractor for the performance of the contract on: 50 pcs. of silicon photomultipliers with the following characteristics:

a) Spectral response range: 270 to 900 nm

b) Peak sensitivity wavelength 450 nm

c) Maximum Photon detection efficiency: at least 50%

d) Dark current: maximum 8 μA

e) Gain: 105 - 106 or higher

f) dimensions of the active part: 6,0 mm x 6,0 mm

g) total dimensions not more than: 6,5 mm x 6,5 mm

h) Working voltage: 38-42 V

2. Matrices of photomultipliers 4x4 (2pcs.) or matrices of photomultipliers 2x2 (4pcs.) with the characteristics listed in point 1. and with the distance between photomultipliers not greater than 0.2 mm

within the project “Innovation Incubator 4.0.”

We offer to perform the complete subject of the contract for the total **net amount of .......................................... EUR/PLN** \*, plus due **VAT in the amount of .......... \* %**, which gives the **gross amount of ......................................... \* EUR/PLN** (**in words :................................................................................ \***),

**including unit price:**

**- for the performance: 1 pcs of silicon photomultipliers with the following characteristics: Spectral response range: 270 to 900 nm, peak sensitivity wavelength 450 nm, maximum Photon detection efficiency: at least 50%, dark current: maximum 8 μA, gain: 105 - 106 or higher, dimensions of the active part: 6,0 mm x 6,0 mm, total dimensions not more than: 6,5 mm x 6,5 mm, working voltage: 38-42 V – net price ……………….. PLN / EURO**

**- for the performance: Matrices of photomultipliers 4x4 (1pcs.) or matrices of photomultipliers 2x2 (1pcs.) with the characteristics listed in point 1. and with the distance between photomultipliers not greater than 0.2 mm –**

**net price ………………… PLN / EURO**

**Person assigned to implement the contract:**

**………………………………………………………………………………**

The Employer stipulates that in the case of a Contractor who is not engaged in business activity, the Employer shall deduct from the above-mentioned amount of remuneration an amount representing all benefits incurred by the Employer, in particular an advance payment of income tax due, if any, as well as surcharges incurred by the Employer and the Contractor.

For a Contractor who is not liable for VAT, the net amount shall be the gross amount.

**I hereby declare that:**

1. I have familiarised myself with the contents of the Request for Proposals and I accept without reservation the requirements contained therein.
2. The tender value shall include all costs related to the execution of the contract.
3. I have acquainted myself with the contents of the Request for Proposals and the description of the subject matter thereof with appendices, and I consider myself bound by the requirements and rules of the procedure specified therein.
4. I offer a deadline for the execution of the subject of the order consistent herewith.
5. I meet the conditions of impartiality and independence as well as the lack of capital or personal relations with the Employer and I am not subject to exclusion from the proceedings pursuant to item V of the Request for Proposals and I meet the conditions of participation in this proceeding.
6. I hereby declare that the selection of my offer will lead to the creation of an obligation for the Employer to pay tax pursuant to the regulations on tax on goods and services. The above tax obligation will concern 50 pcs. of silicon photomultipliers with the following characteristics: Spectral response range: 270 to 900 nm, peak sensitivity wavelength 450 nm, maximum Photon detection efficiency: at least 50%, dark current: maximum 8 μA, gain: 105 - 106 or higher, dimensions of the active part: 6,0 mm x 6,0 mm, total dimensions not more than: 6,5 mm x 6,5 mm, working voltage: 38-42 V. Matrices of photomultipliers 4x4 (2pcs.) or matrices of photomultipliers 2x2 (4pcs.) with the characteristics listed in point and with the distance between photomultipliers not greater than 0.2 mm, covered by the subject matter of the contract.
7. I consider myself bound by this tender for the period indicated in the Request for Proposals.
8. The person authorised to contact the Employer with regard to the submitted tender shall be: ...................................., e-mail: ............................, tel.: ......................... (can be filled in optionally).

Being warned of the responsibility for making a false statement or concealing the truth, I hereby declare that the above data is true.

I consent to the processing of my personal data within the scope specified herein for the purpose of conducting the Request for Proposals for the implementation of the project entitled “Innovation Incubator 4.0.” in accordance with the Regulation of the European Parliament and of the Council (EU) 2016/679 of 27 April 2016 and in accordance with the information clause attached to my consent (concerns a Contractor being a natural person not running a business or being a natural person running a business and executing the order personally).

Enclosed with my proposal are the following documents:

……………………………………….

….…………………..…………………………………..

Place, date and signature of the Contractor

Appendix No. 2 to the Request for Proposals

**Information Clause**

**regarding the processing of personal data**

Pursuant to Art. 13 (1) and (2) of Regulation (EU) 2016/679 of the European Parliament and of the Council of 27 April 2016 on the protection of natural persons with regard to the processing of personal data and on the free movement of such data and repealing Directive 95/46/EC (General Data Protection Regulation, hereinafter “General Regulation”), Jagiellonian University hereby informs that:

1. The Controller of your personal data is the Jagiellonian University, 24 Gołębia Street, 31-007 Kraków, represented by the Rector of the Jagiellonian University.

2. Jagiellonian University has appointed a Data Protection Inspector, 4 Czapskich St., 31-110 Kraków, room no. 27. Contact with the Inspector is possible by e-mail: iod@uj.edu.pl or at telephone number 12 663 12 25, Monday to Friday, from 8:00 to 15:00.

3. Your personal data has been obtained from publicly available sources, i.e. websites, trade magazines, etc.

4. Your personal data will be processed for the purpose of submitting and carrying out the inquiry for the selection of the contractor: 50 pcs. of silicon photomultipliers with the following characteristics: Spectral response range: 270 to 900 nm, peak sensitivity wavelength 450 nm, maximum Photon detection efficiency: at least 50%, dark current: maximum 8 μA, gain: 105 - 106 or higher, dimensions of the active part: 6,0 mm x 6,0 mm, total dimensions not more than: 6,5 mm x 6,5 mm, working voltage: 38-42 V. Matrices of photomultipliers 4x4 (2pcs.) or matrices of photomultipliers 2x2 (4pcs.) with the characteristics listed in point and with the distance between photomultipliers not greater than 0.2 mm, based on Article. 6 sec. 1 lit. c of the General Regulation, and if you choose your offer, your data will be processed in order to perform the order financed under the project "Innovation Incubator 4.0." agreement No.MNiSW / 2020/329 / DIR, pursuant to 6 sec. 1 lit. b of the General Regulation.

5. Providing your personal data by you is a statutory requirement and is a condition for participation in the procedure.

6. Your personal data at the stage of the inquiry will not be made available to third parties.

7. Your personal data will be kept for the period provided for by law, but not shorter than the deadline for the control of the project or its durability.

8. You have the right to: obtain information about the processing of personal data and rights under the GDPR, access and rectify your data, as well as the right to delete personal data from the administrator's files (unless further processing is necessary to fulfill a legal obligation or to establish, investigate or defend claims), and the right to limit processing, transfer data, object to processing - in the cases and under the conditions specified in the GDPR.

9. You have the right to lodge a complaint with the President of the Personal Data Protection Office if you believe that the processing of your personal data violates the provisions of the General Regulation.

10. Your data will not be subject to automated decision making and will not be profiled.

11. Your personal data will not be transferred outside the EEA and / or to international organizations.

I confirm that I have familiarised myself with and acknowledge the above information.

*Place, date, stamp and signature of the Contractor or person authorized to make declarations of will on their behalf*

(Contractor/Contractor’s company stamp)

**STATEMENT BY THE CONTRACTOR**

**ON COMPLIANCE WITH THE INFORMATION OBLIGATIONS PROVIDED FOR**

**IN ART. 13 OR 14 OF THE GDPR**

I hereby declare that I/we have complied with the information obligations provided for in Art. 13 or 14 of Regulation EU 2016/679 of the European Parliament and of the Council of 27 April 2016 on the protection of natural persons with regard to the processing of personal data and on the free movement of such data and repealing Directive 95/46/EC towards natural persons from whom I/we have directly or indirectly obtained personal data for the purpose of applying for a public contract in this procedure.

Place .................................................. date ..........................................

(stamp and signature of person(s) authorized to make declarations of will on behalf of the Contractor)

Appendix No. 3 to the Request of Proposals

Kraków, dated …….………………

**Acceptance Protocol of the Subject Matter of the Order**

**Involving**

 **50 pcs. of silicon photomultipliers with the following characteristics: Spectral response range: 270 to 900 nm, peak sensitivity wavelength 450 nm, maximum Photon detection efficiency: at least 50%, dark current: maximum 8 μA, gain: 105 - 106 or higher, dimensions of the active part: 6,0 mm x 6,0 mm, total dimensions not more than: 6,5 mm x 6,5 mm, working voltage: 38-42 V. Matrices of photomultipliers 4x4 (2pcs.) or matrices of photomultipliers 2x2 (4pcs.) with the characteristics listed in point and with the distance between photomultipliers not greater than 0.2 mm,**

 **within the project entitled “Innovation Incubator 4.0 for the CITTRU Technology Transfer Centre”.**

On ................................................................ r.

ACCEPTED / NOT ACCEPTED\* from:

Contractor’s details …………………………………………………………..…………….

WITHOUT ANY REMARKS AND RESERVATIONS / REMARKS AND RESERVATIONS \*

………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………

**Contractor** **Employer**

\* Delete as appropriate